# See Ya Later? Alligators As Sentinels for PFAS Exposure in North Carolina

Anna K. Boatman1, Gregory P. Kudzin1, Kylie D. Rock2, Erin S. Baker1*, and Scott M. Belcher3*

1University of North Carolina at Chapel Hill, Department of Chemistry, Chapel Hill, NC 27514, USA

2Clemson University

3North Carolina State University, Department of Biological Sciences, Raleigh, NC

*Corresponding Author

# ABSTRACT

TBD

# KEYWORDS

TBD

# SYNOPSIS

TBD

# GRAPHICAL ABSTRACT

For use in table of contents only

# INTRODUCTION

Start off with a gripping opener to personalize the issue and lead into the main point. “Is my water safe to drink?” “How bad is the PFAS problem really?” “How ‘forever’ are these forever chemicals?”

Current state of PFAS NTA in environmental matrices, benefits of IMS, biological monitoring and challenges

Alligators as sentinels for human and ecosystem health and worst-case scenario exposure. Include key findings from Frontiers paper1 and mention additional ethers found in these gators at EPA2

Narrow down to our study – SPATTS showed what’s in the water, gators show things that aren’t detected in water

# RESULTS

## Non-Targeted PFAS Analysis of Alligator Plasma

Our key question in this study was: “What PFAS are present in alligators that we haven’t found anywhere else?” Alligators were sampled over 5 years, 2018-2022, from three general locations: the Cape Fear River (CFR), downstream of a fluorochemical manufacturer in North Carolina; Lake Waccamaw (LW), a nearby reference site; and a region in Florida (FL) with no known fluorochemical manufacturing (Figure – map). We used our LC-IMS-CID-HRMS platform to search for PFAS in alligator plasma by first collecting MS1-only full scan data to maximize feature abundance and then collecting MS2 data using size-dependent all-ions fragmentation (AIF) to elucidate unknown structures.3-6 We analyzed the LC-IMS-CID-HRMS data using complementary approaches: first, a target screening workflow to find known PFAS, and second, a feature finding and prioritization workflow to discover unknown PFAS. In total we detected xx known PFAS and an additional 16 features of interest which were then manually investigated (Table – summary of PFAS detected). We elucidated candidate structures for xx of the unknown features of interest, including xx novel PFAS and xx PFAS known from patent literature but not previously reported in environmental samples (Figure – structures of novel/interesting PFAS). More types of PFAS were detected in CFR alligators (xx total and an average/median of xx per alligator) than in either LW (xxx total and average/median) or FL (xxxx total and average/median) gators. The number of PFAS per alligator xx increased/decreased/did not change over time, with an average of xx and xxx PFAS per CFR and LW alligator, respectively, in 2018 and xx and xxx in 2022. Only one year of data was available for FL alligators so time trends cannot be evaluated here.

The size-dependent AIF method was previously applied to aquatic passive sampling devices deployed in the CFR, resulting in the detection of 20 known and 14 novel PFAS in CFR water.3 Interestingly, neither our target screening workflow nor our discovery workflow detected any of the same novel PFAS previously reported in the water. These compounds may have been present at such low concentrations in the plasma that we could not detect them, or possibly they had already been excreted by the alligators, or perhaps they were not absorbed by the alligators. Developing a quantitative method for these novel compounds would be useful to help us understand our detection limits and the alligators’ exposure; however, analytical reference standards for novel compounds are not available. Semi-quantitative methods are one potential solution and would be worth exploring in future work.7, 8

A major advantage of IMS in PFAS applications is that all detected features have a CCS value in addition to m/z and RT, which lends additional confidence to molecular identifications when diagnostic evidence like homologous series or manufacturing knowledge is available.3, 6, 9 Fragmentation data, where available, was highly useful, as described by Donelson et al. in the previous aquatic passive sampler study.3 In several instances, the peak areas for the features of interest were dramatically lower in the fragmented injections compared to the MS1 only injections, and discernable diagnostic fragments could not always be found. The alternating frames method used for fragmentation inherently reduces precursor signal, and currently multiplexing is not possible for IMS-CID which likely also contributed to the decreased signal. Further optimization of the fragmentation method could be beneficial if full structural elucidation of the tentative candidates is required. However, the data we present here are sufficient for others to add these PFAS to target lists and begin monitoring for them in human and environmental samples. Additionally, optimization for one class is likely to sacrifice sensitivity for other PFAS classes, and part of the challenge with NTA is that the analyst does not know in advance what molecules might be found. Data analysis is highly resource intensive and time consuming, and it is not always possible to re-analyze sample extracts once a feature of interest is discovered. These challenges underscore the need for higher throughput workflows to more rapidly pull features of interest out of complex data sets, a key area of improvement in environmental NTA.8 The challenges also illustrate the benefit of CCS values, which are independent of feature concentration and highly useful in molecular identifications when used in combination with additional evidence.3, 5, 6, 10

## H-substituted polyfluorinated triether acids

We report here for the first time structures for two novel H-substituted polyfluorinated triether acid PFAS, referred to subsequently as m/z 628.92 and m/z 592.95 (Figure – structures). These PFAS consist of a branched fluorinated alkyl chain including one hydrogen substitution for a fluorine and three ether linkages with either a carboxylic acid or sulfonic acid headgroup. Insufficient fragmentation data was available to propose a singular probable structure; however, a combination of fragments and diagnostic evidence was available for us to propose a tentative candidate structure for each feature at a Level 3 confidence (SI figure of all evidence – mimic SMISE report). Chromatograms for both features show several overlapping peaks, indicating structural isomers or multiple conformations. Both features have predominant MS2 fragments at m/z 282.9822 and 262.9760, indicating a loss of HF from adjacent CFH-CF2 moieties. Our discovery workflow flagged a feature with m/z 448.9676, which was previously reported by Donelson et al. as an MS2 fragment of multiheaded polyfluorinated ethers and provided a starting structure for feature validation that was corroborated by additional fragments.3 The m/z 448.97 feature was present in low energy frames along with m/z 592.95, followed the same LC peak shape, and had the same drift time. Together these observations suggest that it is a post-source decay product of m/z 592.95 rather than a separate feature, but confirmation would require additional studies. While we suspect these novel triether PFAS are related to the previously reported multiheaded ethers, we did not detect any of the multiheaded polyfluorinated ethers reported by Donelson et al. in the alligators, possibly due to metabolism or low levels in the water. Donelson et al. noted that H-substitution for the carboxylic acid group is possible and has been reported elsewhere, and in fact an H-substitution for the carboxylic acid group on Donelson et al.’s Compound 10 yields our candidate structure for m/z 628.92. Our candidate structure for m/z 592.95 is Compound 10 with an H-substitution for the O(CF2)2SO3H group, though we do not yet have a possible metabolic mechanism to explain this observation.

The novel triether PFAS were detected in CFR and LW alligators, but not in FL alligators (Figure – detection frequency and abundances). In the LW alligators, the detection frequency and abundance of m/z 628.92 decreased from 2018 to 2022, and m/z 592.95 was not detected after 2018. However, there was no observable change in detection frequency or abundance of either feature over time in the CFR alligators, and in fact the highest average abundance was measured in 2022. Our results suggest that alligators in the CFR had continual exposure to these novel triether PFAS over the time span of the study and reveal an urgent need to monitor these compounds in people and wildlife.

## Long Chain Perfluoroalkyl Ether Sulfonic Acids

Two long chain perfluoroalkyl ether sulfonic acids (PFAESAs), PFHxESA and PFHpESA, were detected in alligator plasma (Figure – structures). These PFAS have previously been detected in biota but analytical standards are not available and they are not commonly targeted.11 A combination of diagnostic fragmentation evidence and CCS and RT predictions using homologous series trendlines supports identifications at Level 2 confidence (SI figure – evidence). Structural isomers for each molecule were also detected, though insufficient fragmentation evidence was available to determine the exact linkages, so these identifications remain Level 3 confidence. The structure of this subclass is a sulfonic acid head group connected to a two-carbon CF2 chain followed by an ether linkage to a fully fluorinated alkyl tail. A standard is available for PFEESA, the smallest homolog in the series and a known component of Nafion production.12 Donelson et al. detected 3 additional congeners in the series, PFPrESA, PFBESA, and PFPeESA, each adding a CF2 unit to the fluorinated alkyl tail, in passive sampling devices deployed in the CFR;3 however, we did not detect any of these molecules in the alligator plasma. Data files were screened for a potential larger addition to the series, PFOESA, but no features with the correct m/z were detected.

In 2018, 100% of CFR alligators had detectable levels of PFHxESA and PFHpESA (Figure – detection frequency and abundances). The detection frequency decreased slightly in 2019 (~75% for PFHxESA and 55% for PFHpESA) but gradually increased through 2022. The detection frequency was lower in LW alligators, starting at 25% for PFHxESA and 10% for PFHpESA, and decreasing to no detections in 2022. Relative abundance comparisons followed the same general trends as detection frequency, with no noticeable decrease in average peak areas for the CFR alligators from 2018-2022, and a steady decrease to below detectable levels for the LW alligators. No PFAESAs were detected in the FL gators, which was expected because Nafion production is not known to occur near the FL sampling sites. While no biological half-life data is available for PFHxESA or PFHpESA, work by Dodds et al. indicated that the levels of PFAESAs in the CFR significantly decreased between 2017 and 2022.4 Our findings suggest that the CFR gators have ongoing exposure, possibly from manufacturing waste, accumulation in sediment, or consumption of PFAESA-contaminated food. No toxicity data is available for the PFAESAs we report here, and we urge other researchers to begin monitoring for them in water, fish, and people.

## New Isomers of Nafion Byproduct 2

Two known byproducts of Nafion manufacture, Nafion Byproduct 2 (NB2) and Nafion Byproduct 6 (NB6), were detected in the alligator plasma. NB6 has been reported in water and sediment from the CFR, and only one time previously in biological samples from this region.2 NB2 has been reported in human serum and water, and two known isomers have been reported in literature.12 We detected 4 distinct chromatographic peaks for NB2 (SI figure – evidence). Isomers A and B were most abundant and were detected in alligators at all North Carolina sites and years and were previously reported in water.4, 12 Isomer D was detected at all NC sites but was present at lower abundance, and isomer C was detected at xx only. A standard for NB2 is available and corresponds with isomer B analyzed under identical conditions in creating our in-house library13, allowing us to identify it at Level 1 confidence with manufacturing knowledge and other environmental detections providing additional diagnostic evidence. Ideally, fragmentation data would help us confirm the exact structures of the remaining isomers. Unfortunately, the peak areas dropped dramatically in the size-dependent AIF CID method, and we were unable to detect diagnostic fragments; however, CCS values and diagnostic evidence allow us to propose tentative candidate structures at Level 3 confidence. Isomer A was previously detected in CFR water with an identical CCS to the NB2 standard and a RT about 0.2 min earlier than the NB2 standard,4 which correlates with a previously proposed structure that moves the H over by one carbon.14, 15 Only one other structure matching the NB2 formula (C7H2F14O5S) exists in PubChem and has been reported in patent literature for electrolyte fuel cells.16 We propose this structure as a tentative candidate for both isomers C and D, which elute approximately 0.6 and 0.8 minutes later than the NB2 standard (isomer B). We can imagine several structural possibilities for a fourth candidate structure, such as relocation of the hydrogen or branching in different locations, but fragmentation evidence is needed to confirm. We hope that future monitoring efforts can screen for these additional isomers and provide more information.

Multiple NB2 isomers are not reported in targeted studies to our knowledge, so the following discussion draws comparisons to isomer B only, which exactly matches the NB2 reference standard. The most recent human data, from 2018-2019, measured NB2 at a median 3.2 ng/mL and 99% detection frequency in serum of people drinking municipal water sourced from the CFR, and 0.14 ng/mL and 56% detection frequency in people drinking private well water.17, 18 While we did not quantify NB2 in the alligators, we observed similar detection frequencies of nearly 100% in CFR alligators and around 50% in LW alligators from 2018-2019 (Figure – detection frequency and abundances). We also observed higher NB2 abundances in the CFR alligators, with about XXx higher peak areas on average in 2018-2019. The levels of NB2 have continually decreased over time in the LW gators, to no detections in 2022, which suggests that exposure has ceased or diminished since 2018. The estimated biological half-life of NB2 in humans is 296 days, and the observation of decreasing NB2 levels in LW gators should be encouraging to human residents and suggests that follow up testing might show a decrease in NB2 levels. However, we see a different story with the CFR alligators, who have no observable decrease in either detection frequency or abundance of NB2 between 2019 and 2022. The relatively constant plasma concentrations suggest continual exposure to NB2 in these animals. The Cape Fear Public Utility Authority has tested its raw and finished water for NB2 since September 2018.19 The NB2 concentration in both raw and finished water has trended downward in this time, with generally higher concentrations in raw water (SI figure – NB2 concentrations in water over time). No water sample in 2020-2022 was above 2 ng/L, and most weeks no NB2 was detected. If water were the CFR alligators’ primary exposure source to NB2, we would expect to see decreasing abundances after 2020. It is possible that even such low levels of NB2 in the water are enough to maintain detectably high plasma concentrations in the alligators. Alternatively, the alligators’ exposure could come from sediment or fish, and we may start to see a downward trend if we continue monitoring. We do not know what these results imply for human residents of this area, but ongoing monitoring of people and alligators is necessary. Clearly, the water does not tell the full story.

## Evidence of Undetected Perfluoroether Carboxylic Acids

Our discovery workflow initially identified PMPA, a short chain perfluoroether carboxylic acid (PFECA) typically detected as a decarboxylated anion (m/z 184.9852) on our platform. However, validation of this detection against our in-house library immediately ruled out PMPA as the correct identification, as the retention time of 11.2 minutes was a far cry from the library value of 2.6 minutes (Figure – EIC and nested spectra of m/z 184.9852). The molecular formula of decarboxylated PMPA is C3F7O, a common MS2 fragment diagnostic of other PFECAs.12 Methods for identifying fragmentation-based PFAS candidates have been discussed elsewhere;20-22 however, this fragment was observed in MS1-only data. Additionally, multiple drift peaks were observed for this feature, which suggests in-source dimerization or multimerization followed by post-source decay. PFECAs are known to dimerize and multimerize in source.23 Because the IMS separation happens after the ion source but before the collision cell, in-source fragments have a distinct drift time from their precursors, and post-drift tube fragments (including CID) are mobility aligned with the precursor ions. If the C3F7O fragment is in-source decay, its calculated CCS should match our library CCS for PMPA, and we do in fact see this with the lower drift peak. On the other hand, if it is post-source decay of a larger PFECA, the CCS should be larger than PMPA’s and we should see a drift-aligned feature at a larger m/z. No entries in our in-house library eluting at or near 11.2 minutes have a formula that could yield a C3F7O fragment, so we hypothesized that this feature is post-source decay of a larger, unknown PFECA. We manually inspected the nested mass spectrum for each drift peak and found additional smaller post-source decay fragments that suggest a CF3O moiety as well as a feature with m/z 528.9509. A precursor signal was not detected in low energy frames from the AIF injections, but the m/z 184.9852 signal was still appearing which allowed us to check for drift-aligned fragments. A clear fragmentation pattern unsurprisingly did not emerge from the low abundance data, though the lack of a drift-aligned SO3- peaks suggests there is not a sulfonic acid head group. One entry on the PFAS suspect list generated by Liu et al. is a potential match: formula C10HF19O3, a linear molecule with a carboxylic acid at one end and an OCF3 at the other.14 However, that structure does not explain the predominant C3F7O fragment observed in our data, and we were unable to confirm an unequivocal molecular formula or propose a candidate structure. However, all available evidence indicates it is likely an unknown PFECA, and a precursor and fragment m/z are sufficient information for others to begin monitoring for this feature.

While investigating the unknown PFECA feature, we looked at the extracted ion chromatogram for m/z 184.9852 and detected an additional 4 distinct LC peaks across all alligator samples (Figure – EIC and nested spectra). The peak at 7.3 minutes was identified as an in-source fragment of an internal mass labeled HFPO-DA standard (aka “GenX”), a PFECA historically produced by Chemours and discharged in the CFR.24 The peaks at 10.8 and 12.4 minutes aligned with our in-house library entries for HFPO-TrA and HFPO-TeA, which are C3F6O additions to the HFPO-DA homologous series; however, precursor signals were not detected. We hypothesize that the m/z 184.9852 signals are in- and post-source decay of these larger precursor PFECAs; however, without detection of the precursors these identifications remain at a Level 5 confidence. The sample extraction and LC-IMS-CID-HRMS methods used in this study were optimized for coverage of as many different types of PFAS as possible, and a drawback of our platform its relatively high limits of detection for PFECAs. Subsequent work on alligators and other biota from this area could benefit greatly from developing modified sample preparation and instrument methods to enhance sensitivity for PFECAs.

## Other Identified Features of Interest

PFECHS and unsaturated PFOS (U-PFOS) were detected. Insufficient fragmentation data was available to elucidate the exact location of the double bond in U-PFOS; however, diagnostic evidence using previous detections in CFR water on our platform3 is sufficient to assign candidate structures at Level 3 confidence (SI figure – evidence). Xx add detection frequency and relative abundance information with site and year trends

A branched isomer of PFUdA, the 11-carbon carboxylic acid, was detected (SI figure – evidence). While branched isomers of carboxylic and sulfonic acid PFAS are commonly detected in lower abundance than their linear counterparts, the br-PFUdA detection is notable because in many cases its abundance was as high or higher than the linear form. Insufficient fragmentation data was available to confirm the exact structure or structures present, so this identification is a Level 3 confidence. Targeted quantitative methods that use a tight LC window could miss this peak and underestimate the total amount of PFUdA present in the sample.

Fipronil sulfone, a metabolite of the fluorinated insecticide fipronil, was detected in nearly 100% of CFR alligators and over 50% of LW alligators (SI figure – evidence). No significant changes in detection frequency or relative abundance over time were observed. Weed et al. detected fipronil sulfone in drinking water from this region.25 To our knowledge, no reports of fipronil sulfone in human residents have been made; however, its presence in alligator plasma suggests it could be of concern. Xx add more about toxicity to gators and people

## Quantitative Analysis

While the primary focus of this work was the non-targeted analysis, we were also interested in evaluating how plasma concentrations of PFAS are changing over time in these alligator populations and gathering data for comparison to other populations and future studies. We generated calibration curves and quantified concentrations for 26 commonly targeted PFAS.

SumPFAS trends over time in LW vs CFR

Florida (2019 only)

Discuss limitation of not quantifying the NTA PFAS

# DISCUSSION

Alligators live exclusively in aquatic environments and have no access to bottled water or farm-raised fish, a worst-case scenario for exposure to toxic chemicals in the water. Our objective in this study was to see if we could detect PFAS in alligator plasma that have not been detected in water, which often does not show longer chain and more bioaccumulative PFAS, or other biological matrices, which likely are not exposed to PFAS at such extreme levels as the alligators. We detected two novel PFAS (the H-substituted polyfluorinated triether acids) and xx additional structures that have not been previously reported in this region. Detection of these compounds should be highly concerning to PFAS researchers and residents of this region because they reveal bioaccumulation of compounds with unknown toxicity. Monitoring of the novel compounds we report here is urgently needed so we can better understand human and wildlife exposure and increase our understanding of how dangerous these chemicals might be. Also of note is the legality of alligator hunting in North Carolina – not only do these animals serve as useful sentinels of human exposure to PFAS, they may also be a source of dietary exposure for humans who eat them. Blood chemistry and metabolic data was collected for these alligators at the time of sampling, and future studies will report whether any links between health endpoints and PFAS concentrations are discovered.

This study was limited by low detection limits for several classes of PFAS, such as PFECAs. Additionally, NTA requires feature prioritization and decision making that inherently exclude certain molecules, for example features that fall above fluorinated CCS vs m/z trendlines. A lack of internal fragmentation for several of the candidate structures also limited our ability to fully identify several of the flagged molecules. However, a major advantage of HRMS data collection is the potential for retrospective data mining and new analytical techniques and software are developed.8 Other researchers might succeed in elucidating structures for our remaining unknown PFAS or discover additional PFAS in our data set, which is publicly available at xx. We urge PFAS researchers in this area to monitor the PFAS we report here in targeted studies of food, water, wildlife, and people so we can begin to understand where these compounds come from, whether they’re dangerous, and what to do about it.

# MATERIALS AND METHODS

## Study Area and Sample Collection

Details

## Standards and Reagents

A heavy-labeled PFAS standard mix (MPFAC-HIF-ES, Wellington Laboratories) was diluted 1:1 in methanol for use as internal standards. Calibration curves were prepared in charcoal-stripped fetal bovine serum (part #) using native PFAS standards (PFAC-MXH and HFPO-DA, Wellington Laboratories) and internal standards as described in more detail in the SI.

Etc

## Plasma Sample Preparation

Unknown alligator plasma samples were blocked and blinded into four batches for extraction. A 50 µl aliquot of each sample was transferred into a polypropylene microcentrifuge tube, along with three field blanks and three QCs (NIST SRM 1957 human serum) per extraction batch. Full extraction method steps are detailed in the SI. In brief, internal standards (5 µl) were spiked into each aliquot, proteins were precipitated using cold acetonitrile (300 µl), and a portion (200 µl) of the acetonitrile was evaporated to dryness. Samples were reconstituted in 40:60 methanol:water buffered with 3 mM ammonium acetate (100 µl) and transferred to polypropylene LC vial inserts. Pooled alligator plasma samples and matrix-matched calibration curve samples, along with three method blanks and three QC samples, were prepared following the same procedure in a separate batch.

## LC-IMS-CID-HRMS Data Collection

All samples were first analyzed on the LC-IMS-CID-HRMS platform in MS1-only mode (no collision energy).6 The pooled samples and several representative individual alligator samples were reinjected using the size-dependent AIF method described previously by Donelson et al.3 Analytical methods are summarized briefly here and full details are available in the SI. A 50 mm C18 column was used (Agilent xx). The LC method was a 0.4 mL/min gradient with water as mobile phase A and 95% methanol and 5% water as mobile phase B, both buffered with 5 mM ammonium acetate, and increased from xx to xx% over 16.5 minutes. The ion source was an Agilent JetStream ESI operated in negative ion mode. The IMS drift tube used a constant 17.4 V/cm drop and a 60 ms maximum drift time, and 4-bit multiplexing was used for the MS1-only injections. For the size-dependent AIF injections, a drift time-based collision energy ramp from 2 to 60 V was applied to alternating frames so that the larger molecules with higher drift times received a higher voltage. The QTOF was operated in m/z 50-1700 mode and a mass calibration was performed every other day. MS1-only data files were demultiplexed using PNNL Preprocessor (v. xxx). To convert measured drift times into CCS values, single-field CCS calibration was applied to all data files as described previously using the Agilent ESI tune mix.

## Target Screening

Peak picking was performed using Skyline-daily (v. xxx) add criteria details. Add library info. Add surrogate standard info. Peak areas were exported to Excel for further analysis. Add reporting limit criteria. Detected PFAS were assigned confidence levels based on XX.

Additional details in SI?

## Absolute Quantification

Calibration curves for 26 PFAS were generated in Skyline [cite tutorial and a Kaylie paper].

## PFAS Discovery and Non-Targeted Analysis

Data files were mined for additional PFAS after completing initial target screening and absolute quantification. Agilent Mass Profiler vXX was used to generate a feature list [add settings to SI]. Fluoromatch-IM vXX was used to score potential PFAS features using homologous series and mass defect flagging. An in-house Python script was used to reduce data and prioritize potential PFAS features. Agilent IM-MS Browser v10.0 was used to validate potential PFAS features. Identified features were added to the Skyline transition list and then the suspect screening workflow described above was followed. Identified features were assigned confidence levels based on a scale adapted from existing guidance incorporating PFAS attributes and IMS-specific criteria.26-28 In brief, this includes Level 1 (confirmed by reference standard analyzed under identical conditions), 2 (a single probable structure supported by all available evidence), 3 (one or more tentative candidate structures), 4 (unequivocal molecular formula), and 5 (feature of interest).

## Statistical Analysis

Tbd

# ASSOCIATED CONTENT

Supporting Information (list)

Skyline files with all LC-IMS-MS data are available at [Panorama URL]

# AUTHOR INFORMATION

Corresponding Authors

Scott M. Belcher email: smbelch2@ncsu.edu

Erin S. Baker email: erinsmb@unc.edu

The authors declare no competing interests.

# ACKNOWLEDGEMENTS

This work was funded by grants from … The views expressed in this manuscript do not reflect those of the funding agencies. Thank field teams, labmates, Jeff Enders

# REFERENCES

(1) Guillette, T. C.; Jackson, T. W.; Guillette, M.; McCord, J.; Belcher, S. M. Blood concentrations of per- and polyfluoroalkyl substances are associated with autoimmune-like effects in American alligators from Wilmington, North Carolina. Front Toxicol 2022, 4, 1010185. DOI: 10.3389/ftox.2022.1010185  From NLM PubMed-not-MEDLINE.

(2) Bangma, J.; Pu, S.; Robuck, A.; Boettger, J.; Guillette, T.; McCord, J.; Rock, K. D.; Sobus, J.; Jackson, T. W.; Belcher, S. M. Combined screening and retroactive data mining for emerging perfluoroethers in wildlife and pets in the Cape Fear region of North Carolina. Chemosphere 2024, 363, 142898. DOI: 10.1016/j.chemosphere.2024.142898  From NLM Medline.

(3) Kirkwood-Donelson, K. I.; Dodds, J. N.; Schnetzer, A.; Hall, N.; Baker, E. S. Uncovering per- and polyfluoroalkyl substances (PFAS) with nontargeted ion mobility spectrometry-mass spectrometry analyses. Sci Adv 2023, 9 (43), eadj7048. DOI: 10.1126/sciadv.adj7048  From NLM PubMed-not-MEDLINE.

(4) Dodds, J. N.; Kirkwood-Donelson, K. I.; Boatman, A. K.; Knappe, D. R. U.; Hall, N. S.; Schnetzer, A.; Baker, E. S. Evaluating Solid Phase Adsorption Toxin Tracking (SPATT) for passive monitoring of per- and polyfluoroalkyl substances (PFAS) with Ion Mobility Spectrometry-Mass Spectrometry (IMS-MS). Sci Total Environ 2024, 947, 174574. DOI: 10.1016/j.scitotenv.2024.174574  From NLM Medline.

(5) Foster, M.; Rainey, M.; Watson, C.; Dodds, J. N.; Kirkwood, K. I.; Fernandez, F. M.; Baker, E. S. Uncovering PFAS and Other Xenobiotics in the Dark Metabolome Using Ion Mobility Spectrometry, Mass Defect Analysis, and Machine Learning. Environ Sci Technol 2022, 56 (12), 9133-9143. DOI: 10.1021/acs.est.2c00201  From NLM Medline.

(6) Dodds, J. N.; Hopkins, Z. R.; Knappe, D. R. U.; Baker, E. S. Rapid Characterization of Per- and Polyfluoroalkyl Substances (PFAS) by Ion Mobility Spectrometry-Mass Spectrometry (IMS-MS). Anal Chem 2020, 92 (6), 4427-4435. DOI: 10.1021/acs.analchem.9b05364  From NLM Medline.

(7) McCord, J. P.; Groff, L. C., 2nd; Sobus, J. R. Quantitative non-targeted analysis: Bridging the gap between contaminant discovery and risk characterization. Environ Int 2022, 158, 107011. DOI: 10.1016/j.envint.2021.107011  From NLM Medline.

(8) Strynar, M.; McCord, J.; Newton, S.; Washington, J.; Barzen-Hanson, K.; Trier, X.; Liu, Y.; Dimzon, I. K.; Bugsel, B.; Zwiener, C.; et al. Practical application guide for the discovery of novel PFAS in environmental samples using high resolution mass spectrometry. J Expo Sci Environ Epidemiol 2023, 33 (4), 575-588. DOI: 10.1038/s41370-023-00578-2  From NLM Medline.

(9) Dodds, J. N.; Alexander, N. L. M.; Kirkwood, K. I.; Foster, M. R.; Hopkins, Z. R.; Knappe, D. R. U.; Baker, E. S. From Pesticides to Per- and Polyfluoroalkyl Substances: An Evaluation of Recent Targeted and Untargeted Mass Spectrometry Methods for Xenobiotics. Anal Chem 2021, 93 (1), 641-656. DOI: 10.1021/acs.analchem.0c04359  From NLM Medline.

(10) Burnum-Johnson, K. E.; Zheng, X.; Dodds, J. N.; Ash, J.; Fourches, D.; Nicora, C. D.; Wendler, J. P.; Metz, T. O.; Waters, K. M.; Jansson, J. K.; et al. Ion Mobility Spectrometry and the Omics: Distinguishing Isomers, Molecular Classes and Contaminant Ions in Complex Samples. Trends Analyt Chem 2019, 116, 292-299. DOI: 10.1016/j.trac.2019.04.022  From NLM PubMed-not-MEDLINE.

(11) Dudasova, S.; Wurz, J.; Berger, U.; Reemtsma, T.; Fu, Q.; Lechtenfeld, O. J. An automated and high-throughput data processing workflow for PFAS identification in biota by direct infusion ultra-high resolution mass spectrometry. Anal Bioanal Chem 2024, 416 (22), 4833-4848. DOI: 10.1007/s00216-024-05426-2  From NLM Medline.

(12) McCord, J.; Strynar, M. Identification of Per- and Polyfluoroalkyl Substances in the Cape Fear River by High Resolution Mass Spectrometry and Nontargeted Screening. Environ Sci Technol 2019, 53 (9), 4717-4727. DOI: 10.1021/acs.est.8b06017  From NLM Medline.

(13) Dataset for "Multidimensional library for the improved identification of per- and polyfluoroalkyl substances (PFAS)". (accessed 2024-12-20).

(14) Liu, Y., D'Agostino, L., Schymanski, E., & Martin, J. List of PFAS reported in Non-Target HRMS Studies. NORMAN-SLE-S46.0.1.1, Ed.; 2019.

(15) PubChem CID 138395264. 2019-06-20. https://pubchem.ncbi.nlm.nih.gov/compound/138395264 (accessed 2024-12-20).

(16) PubChem CID 57638404. 2012-08-09. https://pubchem.ncbi.nlm.nih.gov/compound/57638404 (accessed 2024-12-20).

(17) Kotlarz, N.; Guillette, T.; Critchley, C.; Collier, D.; Lea, C. S.; McCord, J.; Strynar, M.; Cuffney, M.; Hopkins, Z. R.; Knappe, D. R. U.; et al. Per- and polyfluoroalkyl ether acids in well water and blood serum from private well users residing by a fluorochemical facility near Fayetteville, North Carolina. J Expo Sci Environ Epidemiol 2024, 34 (1), 97-107. DOI: 10.1038/s41370-023-00626-x  From NLM Medline.

(18) Kotlarz, N.; McCord, J.; Collier, D.; Lea, C. S.; Strynar, M.; Lindstrom, A. B.; Wilkie, A. A.; Islam, J. Y.; Matney, K.; Tarte, P.; et al. Measurement of Novel, Drinking Water-Associated PFAS in Blood from Adults and Children in Wilmington, North Carolina. Environ Health Perspect 2020, 128 (7), 77005. DOI: 10.1289/EHP6837  From NLM Medline.

(19) PFAS Testing Results. https://www.cfpua.org/833/PFAS-Testing-Results (accessed 2024-12-20).

(20) Hensema, T. J.; Berendsen, B. J. A.; van Leeuwen, S. P. J. Non-targeted identification of per- and polyfluoroalkyl substances at trace level in surface water using fragment ion flagging. Chemosphere 2021, 265, 128599. DOI: 10.1016/j.chemosphere.2020.128599  From NLM Medline.

(21) Gonzalez de Vega, R.; Cameron, A.; Clases, D.; Dodgen, T. M.; Doble, P. A.; Bishop, D. P. "Simultaneous targeted and non-targeted analysis of per- and polyfluoroalkyl substances in environmental samples by liquid chromatography-ion mobility-quadrupole time of flight-mass spectrometry and mass defect analysis". J Chromatogr A 2021, 1653, 462423. DOI: 10.1016/j.chroma.2021.462423  From NLM Medline.

(22) Yukioka, S.; Tanaka, S.; Suzuki, Y.; Echigo, S.; Fujii, S. Data-independent acquisition with ion mobility mass spectrometry for suspect screening of per- and polyfluoroalkyl substances in environmental water samples. J Chromatogr A 2021, 1638, 461899. DOI: 10.1016/j.chroma.2021.461899  From NLM Medline.

(23) Strynar, M.; Dagnino, S.; McMahen, R.; Liang, S.; Lindstrom, A.; Andersen, E.; McMillan, L.; Thurman, M.; Ferrer, I.; Ball, C. Identification of Novel Perfluoroalkyl Ether Carboxylic Acids (PFECAs) and Sulfonic Acids (PFESAs) in Natural Waters Using Accurate Mass Time-of-Flight Mass Spectrometry (TOFMS). Environ Sci Technol 2015, 49 (19), 11622-11630. DOI: 10.1021/acs.est.5b01215  From NLM Medline.

(24) Sun, M.; Arevalo, E.; Strynar, M.; Lindstrom, A.; Richardson, M.; Kearns, B.; Pickett, A.; Smith, C.; Knappe, D. R. Legacy and emerging perfluoroalkyl substances are important drinking water contaminants in the Cape Fear River Watershed of North Carolina. Environmental science & technology letters 2016, 3 (12), 415-419.

(25) Weed, R. A.; Campbell, G.; Brown, L.; May, K.; Sargent, D.; Sutton, E.; Burdette, K.; Rider, W.; Baker, E. S.; Enders, J. R. Non-Targeted PFAS Suspect Screening and Quantification of Drinking Water Samples Collected through Community Engaged Research in North Carolina's Cape Fear River Basin. Toxics 2024, 12 (6). DOI: 10.3390/toxics12060403  From NLM PubMed-not-MEDLINE.

(26) Schymanski, E. L.; Jeon, J.; Gulde, R.; Fenner, K.; Ruff, M.; Singer, H. P.; Hollender, J. Identifying small molecules via high resolution mass spectrometry: communicating confidence. Environ Sci Technol 2014, 48 (4), 2097-2098. DOI: 10.1021/es5002105  From NLM Medline.

(27) Celma, A.; Sancho, J. V.; Schymanski, E. L.; Fabregat-Safont, D.; Ibanez, M.; Goshawk, J.; Barknowitz, G.; Hernandez, F.; Bijlsma, L. Improving Target and Suspect Screening High-Resolution Mass Spectrometry Workflows in Environmental Analysis by Ion Mobility Separation. Environ Sci Technol 2020, 54 (23), 15120-15131. DOI: 10.1021/acs.est.0c05713  From NLM Medline.

(28) Charbonnet, J. A.; McDonough, C. A.; Xiao, F.; Schwichtenberg, T.; Cao, D.; Kaserzon, S.; Thomas, K. V.; Dewapriya, P.; Place, B. J.; Schymanski, E. L.; et al. Communicating Confidence of Per- and Polyfluoroalkyl Substance Identification via High-Resolution Mass Spectrometry. Environ Sci Technol Lett 2022, 9 (6), 473-481. DOI: 10.1021/acs.estlett.2c00206  From NLM PubMed-not-MEDLINE.