PIMMS Experimental Design

Skyline Side

Select 3 method blanks

Select 6 experimental samples that are known to contain PFAS

Create an excel document of the detection frequency for each sample post blank subtraction (mean + 3 s.d.)

Experimental Notes:

- Baker Lab Skyline template imported for the 16.5-minute Reversed Phase method

- Any peak with a >10 ppm absolute mass error is removed

- Any peak with a <1000 peak area removed

- Document has any analyte that does not

Browser Parameters:

PIMMS Side

Identify all the PFAS that are found in the Skyline in mass profiler

Process the PFAS through PIMMS taking a reading at every stage to determine loss

Determine false positive and false negative rate throughout the experiment