## Summary
Name | Notes | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.) | Skyline average intensity
PFBS | heavy | 100 | 0 | 1529309.5962
PFPeS |  | 46.1538 | 75 | 812.9959
PFHxS | branched | 61.5385 | 100 | 7025.7919
PFHxS | linear | 61.5385 | 100 | 595234.8125
PFHxS | heavy | 100 | 0 | 68730.0222
PFHxS | heavy | 100 | 0 | 2446575.4519
PFECHS |  | 53.8462 | 87.5 | 3572.0772
PFHpS | linear | 61.5385 | 100 | 47056.896
PFHpS | branched | 30.7692 | 50 | 1592.8783
PFOS | linear | 76.9231 | 100 | 1659735.9841
PFOS | branched | 61.5385 | 100 | 1129186.9615
PFOS | heavy | 100 | 0 | 2099178.3558
PFDS |  | 23.0769 | 37.5 | 949.3564
PFHxA | heavy | 100 | 62.5 | 82487.595
PFHpA |  | 53.8462 | 87.5 | 3037.6405
PFHpA | heavy | 100 | 37.5 | 376820.6611
PFOA | branched | 53.8462 | 87.5 | 2563.663
PFOA | linear | 100 | 100 | 193456.3662
PFOA | heavy | 100 | 37.5 | 679784.5337
PFNA |  | 69.2308 | 100 | 29166.2247
PFNA | heavy | 100 | 0 | 322662.3233
PFDA |  | 38.4615 | 62.5 | 2809.4591
PFDA | heavy | 92.3077 | 0 | 225773.6863
PFUdA | heavy | 100 | 87.5 | 150811.4189
PFDoA | heavy | 100 | 100 | 83036.4612
PFTeDA | heavy | 61.5385 | 100 | 56380.2752
4:2 FTS | heavy | 100 | 62.5 | 334305.9928
6:2 FTS | heavy | 100 | 0 | 401397.4495
8:2 FTS | heavy | 100 | 0 | 378996.1442
FOSA | heavy | 61.5385 | 100 | 329612.1851
N-MeFOSAA | heavy | 100 | 0 | 168178.235
N-EtFOSAA | heavy | 100 | 0 | 122014.3855
N-MeFOSA | heavy | 61.5385 | 100 | 100535.1629
N-MeFOSA | heavy, smaller peak | 61.5385 | 25 | 3821.6311
N-EtFOSA | heavy | 61.5385 | 100 | 64792.7993
N-EtFOSA | heavy, smaller peak | 69.2308 | 100 | 7437.638
HFPO-DA | heavy | 46.1538 | 75 | 1827.4127

## PFBS - Heavy
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 1470065.25 |  | 1
Method Blank 2 | 1517533.125 |  | 1
Method Blank 3 | 1586960.25 |  | 1
Method Blank 4 | 1662503.625 |  | 1
Method Blank 5 | 1515109.375 |  | 1
NIST SRM-1957 1 | 1255965.25 | -520383.2203 | 1 | 0
NIST SRM-1957 2 | 1309535.625 | -466812.8453 | 1 | 0
NIST SRM-1957 3 | 1343459.75 | -432888.7203 | 1 | 0
NIST SRM-1957 6 | 1682593.375 | -93755.0953 | 1 | 0
NIST SRM-1957 7 | 1670992.375 | -105356.0953 | 1 | 0
NIST SRM-1957 8 | 1715704.75 | -60643.7203 | 1 | 0
NIST SRM-1957 9 | 1551295.125 | -225053.3453 | 1 | 0
NIST SRM-1957 10 | 1599306.875 | -177041.5953 | 1 | 0
|  |  | 100 | 0
1529309.5962

## PFPeS - Native
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.) |  | idotp | precursor - 348.9398[M-H]
Method Blank 1 | 0 |  | 0 |  | Replicate | idotp | Peak Area | StdErr
Method Blank 2 | 0 |  | 0 |  | Expected | NaN | 2615.323
Method Blank 3 | 0 |  | 0 |  | Method Blank 1 | NaN | 0 | 0
Method Blank 4 | 0 |  | 0 |  | Method Blank 2 | NaN | 0 | 0
Method Blank 5 | 0 |  | 0 |  | Method Blank 3 | NaN | 0 | 0
NIST SRM-1957 1 | 1152.1958 | 1152.1958 | 1 | 1 | Method Blank 4 | NaN | 0 | 0
NIST SRM-1957 2 | 1756.0973 | 1756.0973 | 1 | 1 | Method Blank 5 | NaN | 0 | 0
NIST SRM-1957 3 | 1893.0782 | 1893.0782 | 1 | 1 | NIST SRM-1957 1 | NaN | 1152.1958 | 0
NIST SRM-1957 6 | 636.1712 | 636.1712 | 1 | 1 | NIST SRM-1957 2 | NaN | 1756.0973 | 0
NIST SRM-1957 7 | 2516.0806 | 2516.0806 | 1 | 1 | NIST SRM-1957 3 | NaN | 1893.0782 | 0
NIST SRM-1957 8 | 2615.323 | 2615.323 | 1 | 1 | NIST SRM-1957 6 | NaN | 636.1712 | 0
NIST SRM-1957 9 | 0 | 0 | 0 | 0 | NIST SRM-1957 7 | NaN | 2516.0806 | 0
NIST SRM-1957 10 | 0 | 0 | 0 | 0 | NIST SRM-1957 8 | NaN | 2615.323 | 0
[5 empty] | NIST SRM-1957 9 | NaN | 0 | 0
|  |  | 46.1538 | 75 | NIST SRM-1957 10 | NaN | 0 | 0
812.9959

## PFHxS - Branched Native
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 0 |  | 0
Method Blank 2 | 0 |  | 0
Method Blank 3 | 0 |  | 0
Method Blank 4 | 0 |  | 0
Method Blank 5 | 0 |  | 0
NIST SRM-1957 1 | 8468.5977 | 8468.5977 | 1 | 1
NIST SRM-1957 2 | 8712.4229 | 8712.4229 | 1 | 1
NIST SRM-1957 3 | 10519.6172 | 10519.6172 | 1 | 1
NIST SRM-1957 6 | 15654.5039 | 15654.5039 | 1 | 1
NIST SRM-1957 7 | 18058.7305 | 18058.7305 | 1 | 1
NIST SRM-1957 8 | 14438.3584 | 14438.3584 | 1 | 1
NIST SRM-1957 9 | 7341.7739 | 7341.7739 | 1 | 1
NIST SRM-1957 10 | 8141.2905 | 8141.2905 | 1 | 1
|  |  | 61.5385 | 100
7025.7919

## PFHxS - Linear Native
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 0 |  | 0
Method Blank 2 | 0 |  | 0
Method Blank 3 | 0 |  | 0
Method Blank 4 | 0 |  | 0
Method Blank 5 | 0 |  | 0
NIST SRM-1957 1 | 693416.375 | 693416.375 | 1 | 1
NIST SRM-1957 2 | 685852.375 | 685852.375 | 1 | 1
NIST SRM-1957 3 | 660528.5 | 660528.5 | 1 | 1
NIST SRM-1957 6 | 1298222.5 | 1298222.5 | 1 | 1
NIST SRM-1957 7 | 1266488.25 | 1266488.25 | 1 | 1
NIST SRM-1957 8 | 1298617 | 1298617 | 1 | 1
NIST SRM-1957 9 | 908814.375 | 908814.375 | 1 | 1
NIST SRM-1957 10 | 926113.1875 | 926113.1875 | 1 | 1
|  |  | 61.5385 | 100
595234.8125

## PFHxS Heavy 402
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 69599.6406 |  | 1
Method Blank 2 | 65527.6016 |  | 1
Method Blank 3 | 69683.8281 |  | 1
Method Blank 4 | 86616.3984 |  | 1
Method Blank 5 | 83209.9141 |  | 1
NIST SRM-1957 1 | 50715.5508 | -52253.0608 | 1 | 0
NIST SRM-1957 2 | 51991.3477 | -50977.2639 | 1 | 0
NIST SRM-1957 3 | 43565.457 | -59403.1545 | 1 | 0
NIST SRM-1957 6 | 85819.9297 | -17148.6818 | 1 | 0
NIST SRM-1957 7 | 86660.9375 | -16307.674 | 1 | 0
NIST SRM-1957 8 | 77998.7422 | -24969.8693 | 1 | 0
NIST SRM-1957 9 | 57350.0898 | -45618.5217 | 1 | 0
NIST SRM-1957 10 | 64750.8516 | -38217.76 | 1 | 0
|  |  | 100 | 0
68730.0222

## PFHxS Heavy 401
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 2397313 |  | 1
Method Blank 2 | 2445803 |  | 1
Method Blank 3 | 2846578.5 |  | 1
Method Blank 4 | 2701837.75 |  | 1
Method Blank 5 | 2800271.5 |  | 1
NIST SRM-1957 1 | 1728319.375 | -1526286.864 | 1 | 0
NIST SRM-1957 2 | 1747214.75 | -1507391.489 | 1 | 0
NIST SRM-1957 3 | 1720155.75 | -1534450.489 | 1 | 0
NIST SRM-1957 6 | 2765517.75 | -489088.489 | 1 | 0
NIST SRM-1957 7 | 2788510.25 | -466095.989 | 1 | 0
NIST SRM-1957 8 | 2815612.25 | -438993.989 | 1 | 0
NIST SRM-1957 9 | 2519609.75 | -734996.489 | 1 | 0
NIST SRM-1957 10 | 2528737.25 | -725868.989 | 1 | 0
|  |  | 100 | 0
2446575.4519

## PFECHS UPFOS
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 0 |  | 0
Method Blank 2 | 0 |  | 0
Method Blank 3 | 0 |  | 0
Method Blank 4 | 0 |  | 0
Method Blank 5 | 0 |  | 0
NIST SRM-1957 1 | 3325.9087 | 3325.9087 | 1 | 1
NIST SRM-1957 2 | 6311.2153 | 6311.2153 | 1 | 1
NIST SRM-1957 3 | 1449.0952 | 1449.0952 | 1 | 1
NIST SRM-1957 6 | 14155.3457 | 14155.3457 | 1 | 1
NIST SRM-1957 7 | 10251.2529 | 10251.2529 | 1 | 1
NIST SRM-1957 8 | 6924.2036 | 6924.2036 | 1 | 1
NIST SRM-1957 9 | 4019.9822 | 4019.9822 | 1 | 1
NIST SRM-1957 10 | 0 | 0 | 0 | 0
|  |  | 53.8462 | 87.5
3572.0772
Notes: Appears at the top of the drift window with inconsistent positioning. Unable to determine if it is UPFOS or PFECHS

## PFHpS - Linear Native
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 0 |  | 0
Method Blank 2 | 0 |  | 0
Method Blank 3 | 0 |  | 0
Method Blank 4 | 0 |  | 0
Method Blank 5 | 0 |  | 0
NIST SRM-1957 1 | 51120.8047 | 51120.8047 | 1 | 1
NIST SRM-1957 2 | 61108.3711 | 61108.3711 | 1 | 1
NIST SRM-1957 3 | 56102.0898 | 56102.0898 | 1 | 1
NIST SRM-1957 6 | 104585.375 | 104585.375 | 1 | 1
NIST SRM-1957 7 | 103256.1797 | 103256.1797 | 1 | 1
NIST SRM-1957 8 | 103122.8359 | 103122.8359 | 1 | 1
NIST SRM-1957 9 | 66476.8203 | 66476.8203 | 1 | 1
NIST SRM-1957 10 | 65967.1719 | 65967.1719 | 1 | 1
|  |  | 61.5385 | 100
47056.896

## PFHpS - Branched Native
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 0 |  | 0
Method Blank 2 | 0 |  | 0
Method Blank 3 | 0 |  | 0
Method Blank 4 | 0 |  | 0
Method Blank 5 | 0 |  | 0
NIST SRM-1957 1 | 0 | 0 | 0 | 0
NIST SRM-1957 2 | 0 | 0 | 0 | 0
NIST SRM-1957 3 | 2613.8826 | 2613.8826 | 1 | 1
NIST SRM-1957 6 | 6067.1885 | 6067.1885 | 1 | 1
NIST SRM-1957 7 | 6112.1143 | 6112.1143 | 1 | 1
NIST SRM-1957 8 | 5914.2329 | 5914.2329 | 1 | 1
NIST SRM-1957 9 | 0 | 0 | 0 | 0
NIST SRM-1957 10 | 0 | 0 | 0 | 0
|  |  | 30.7692 | 50
1592.8783

## PFOS - Linear Native
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 22.6634 |  | 1
Method Blank 2 | 0 |  | 0
Method Blank 3 | 0 |  | 0
Method Blank 4 | 0 |  | 0
Method Blank 5 | 445.1294 |  | 1
NIST SRM-1957 1 | 2276538 | 2275854.1047 | 1 | 1
NIST SRM-1957 2 | 2351341 | 2350657.1047 | 1 | 1
NIST SRM-1957 3 | 2433654 | 2432970.1047 | 1 | 1
NIST SRM-1957 6 | 3055142.25 | 3054458.3547 | 1 | 1
NIST SRM-1957 7 | 3036440 | 3035756.1047 | 1 | 1
NIST SRM-1957 8 | 3036979 | 3036295.1047 | 1 | 1
NIST SRM-1957 9 | 2622149.25 | 2621465.3547 | 1 | 1
NIST SRM-1957 10 | 2763856.5 | 2763172.6047 | 1 | 1
|  |  | 76.9231 | 100
1659735.9841

## PFOS - Branched Native
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 0 |  | 0
Method Blank 2 | 0 |  | 0
Method Blank 3 | 0 |  | 0
Method Blank 4 | 0 |  | 0
Method Blank 5 | 0 |  | 0
NIST SRM-1957 1 | 1506597 | 1506597 | 1 | 1
NIST SRM-1957 2 | 1574906.125 | 1574906.125 | 1 | 1
NIST SRM-1957 3 | 1527947.375 | 1527947.375 | 1 | 1
NIST SRM-1957 6 | 2347956.5 | 2347956.5 | 1 | 1
NIST SRM-1957 7 | 2351610.5 | 2351610.5 | 1 | 1
NIST SRM-1957 8 | 2363344.25 | 2363344.25 | 1 | 1
NIST SRM-1957 9 | 1534288.625 | 1534288.625 | 1 | 1
NIST SRM-1957 10 | 1472780.125 | 1472780.125 | 1 | 1
|  |  | 61.5385 | 100
1129186.9615

## PFOS - Heavy
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 2696340.5 |  | 1
Method Blank 2 | 2669588.5 |  | 1
Method Blank 3 | 2507976.5 |  | 1
Method Blank 4 | 2853058.5 |  | 1
Method Blank 5 | 2479145 |  | 1
NIST SRM-1957 1 | 1682276.625 | -1415745.6089 | 1 | 0
NIST SRM-1957 2 | 1716511.875 | -1381510.3589 | 1 | 0
NIST SRM-1957 3 | 1745773.75 | -1352248.4839 | 1 | 0
NIST SRM-1957 6 | 1863251.25 | -1234770.9839 | 1 | 0
NIST SRM-1957 7 | 1872243.625 | -1225778.6089 | 1 | 0
NIST SRM-1957 8 | 1864810.25 | -1233211.9839 | 1 | 0
NIST SRM-1957 9 | 1661561.5 | -1436460.7339 | 1 | 0
NIST SRM-1957 10 | 1676780.75 | -1421241.4839 | 1 | 0
|  |  | 100 | 0
2099178.3558

## PFDS - Linear Native
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 0 |  | 0
Method Blank 2 | 0 |  | 0
Method Blank 3 | 0 |  | 0
Method Blank 4 | 0 |  | 0
Method Blank 5 | 0 |  | 0
NIST SRM-1957 1 | 4387.1763 | 4387.1763 | 1 | 1
NIST SRM-1957 2 | 5261.6826 | 5261.6826 | 1 | 1
NIST SRM-1957 3 | 2692.7744 | 2692.7744 | 1 | 1
NIST SRM-1957 6 | 0 | 0 | 0 | 0
NIST SRM-1957 7 | 0 | 0 | 0 | 0
NIST SRM-1957 8 | 0 | 0 | 0 | 0
NIST SRM-1957 9 | 0 | 0 | 0 | 0
NIST SRM-1957 10 | 0 | 0 | 0 | 0
|  |  | 23.0769 | 37.5
949.3564

## PFHxA - Heavy
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 69798.1016 |  | 1
Method Blank 2 | 68369.4453 |  | 1
Method Blank 3 | 66003.2578 |  | 1
Method Blank 4 | 81546.5781 |  | 1
Method Blank 5 | 65632.3438 |  | 1
NIST SRM-1957 1 | 92055.8828 | 2187.5919 | 1 | 1
NIST SRM-1957 2 | 105429.2969 | 15561.006 | 1 | 1
NIST SRM-1957 3 | 99373.4219 | 9505.131 | 1 | 1
NIST SRM-1957 6 | 84551.8672 | -5316.4237 | 1 | 0
NIST SRM-1957 7 | 92856.8047 | 2988.5138 | 1 | 1
NIST SRM-1957 8 | 92011.2656 | 2142.9748 | 1 | 1
NIST SRM-1957 9 | 79530.1094 | -10338.1815 | 1 | 0
NIST SRM-1957 10 | 75180.3594 | -14687.9315 | 1 | 0
|  |  | 100 | 62.5
82487.595

## PFHpA - Native
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 0 |  | 0
Method Blank 2 | 0 |  | 0
Method Blank 3 | 0 |  | 0
Method Blank 4 | 0 |  | 0
Method Blank 5 | 0 |  | 0
NIST SRM-1957 1 | 6431.6748 | 6431.6748 | 1 | 1
NIST SRM-1957 2 | 9010.3398 | 9010.3398 | 1 | 1
NIST SRM-1957 3 | 8583.3574 | 8583.3574 | 1 | 1
NIST SRM-1957 6 | 3210.9297 | 3210.9297 | 1 | 1
NIST SRM-1957 7 | 4768.3687 | 4768.3687 | 1 | 1
NIST SRM-1957 8 | 5185.1816 | 5185.1816 | 1 | 1
NIST SRM-1957 9 | 2299.4741 | 2299.4741 | 1 | 1
NIST SRM-1957 10 | 0 | 0 | 0 | 0
|  |  | 53.8462 | 87.5
3037.6405

## PFHpA - Heavy
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 328549.25 |  | 1
Method Blank 2 | 349568.1562 |  | 1
Method Blank 3 | 344527.125 |  | 1
Method Blank 4 | 372575.2812 |  | 1
Method Blank 5 | 346503.1562 |  | 1
NIST SRM-1957 1 | 382461.8438 | -13279.971 | 1 | 0
NIST SRM-1957 2 | 425844.875 | 30103.0602 | 1 | 1
NIST SRM-1957 3 | 416779.125 | 21037.3102 | 1 | 1
NIST SRM-1957 6 | 380325.9688 | -15415.846 | 1 | 0
NIST SRM-1957 7 | 382843.0938 | -12898.721 | 1 | 0
NIST SRM-1957 8 | 415339.1875 | 19597.3727 | 1 | 1
NIST SRM-1957 9 | 373603.625 | -22138.1898 | 1 | 0
NIST SRM-1957 10 | 379747.9062 | -15993.9085 | 1 | 0
|  |  | 100 | 37.5
376820.6611

## PFOA - Branched Native
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 0 |  | 0
Method Blank 2 | 0 |  | 0
Method Blank 3 | 0 |  | 0
Method Blank 4 | 0 |  | 0
Method Blank 5 | 0 |  | 0
NIST SRM-1957 1 | 4098.5298 | 4098.5298 | 1 | 1
NIST SRM-1957 2 | 4639.4707 | 4639.4707 | 1 | 1
NIST SRM-1957 3 | 2400.7942 | 2400.7942 | 1 | 1
NIST SRM-1957 6 | 7682.2495 | 7682.2495 | 1 | 1
NIST SRM-1957 7 | 5800.0083 | 5800.0083 | 1 | 1
NIST SRM-1957 8 | 6797.3125 | 6797.3125 | 1 | 1
NIST SRM-1957 9 | 0 | 0 | 0 | 0
NIST SRM-1957 10 | 1909.2539 | 1909.2539 | 1 | 1
|  |  | 53.8462 | 87.5
2563.663

## PFOA - Linear Native
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 4526.8828 |  | 1
Method Blank 2 | 1683.1632 |  | 1
Method Blank 3 | 3053.6809 |  | 1
Method Blank 4 | 4303.8989 |  | 1
Method Blank 5 | 1694.9158 |  | 1
NIST SRM-1957 1 | 293705.9375 | 286557.0493 | 1 | 1
NIST SRM-1957 2 | 300910.0312 | 293761.1431 | 1 | 1
NIST SRM-1957 3 | 286102.0625 | 278953.1743 | 1 | 1
NIST SRM-1957 6 | 355375.5312 | 348226.6431 | 1 | 1
NIST SRM-1957 7 | 387440.125 | 380291.2368 | 1 | 1
NIST SRM-1957 8 | 374613.0312 | 367464.1431 | 1 | 1
NIST SRM-1957 9 | 264580.75 | 257431.8618 | 1 | 1
NIST SRM-1957 10 | 236942.75 | 229793.8618 | 1 | 1
|  |  | 100 | 100
193456.3662

## PFOA - Linear Heavy
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 626116.5 |  | 1
Method Blank 2 | 659753 |  | 1
Method Blank 3 | 661851.5 |  | 1
Method Blank 4 | 685317.75 |  | 1
Method Blank 5 | 653382.125 |  | 1
NIST SRM-1957 1 | 608325.9375 | -112588.7757 | 1 | 0
NIST SRM-1957 2 | 641939.3125 | -78975.4007 | 1 | 0
NIST SRM-1957 3 | 620447.0625 | -100467.6507 | 1 | 0
NIST SRM-1957 6 | 753973.4375 | 33058.7243 | 1 | 1
NIST SRM-1957 7 | 754605.6875 | 33690.9743 | 1 | 1
NIST SRM-1957 8 | 797468.3125 | 76553.5993 | 1 | 1
NIST SRM-1957 9 | 679001 | -41913.7132 | 1 | 0
NIST SRM-1957 10 | 695017.3125 | -25897.4007 | 1 | 0
|  |  | 100 | 37.5
679784.5337

## PFNA - Linear Native
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 0 |  | 0
Method Blank 2 | 0 |  | 0
Method Blank 3 | 0 |  | 0
Method Blank 4 | 0 |  | 0
Method Blank 5 | 59.9757 |  | 1
NIST SRM-1957 1 | 38310.7656 | 38218.3046 | 1 | 1
NIST SRM-1957 2 | 39549.5234 | 39457.0624 | 1 | 1
NIST SRM-1957 3 | 37016.543 | 36924.0819 | 1 | 1
NIST SRM-1957 6 | 66430.625 | 66338.164 | 1 | 1
NIST SRM-1957 7 | 57609.1133 | 57516.6522 | 1 | 1
NIST SRM-1957 8 | 64442.4531 | 64349.9921 | 1 | 1
NIST SRM-1957 9 | 38793.4297 | 38700.9686 | 1 | 1
NIST SRM-1957 10 | 36948.4922 | 36856.0311 | 1 | 1
|  |  | 69.2308 | 100
29166.2247

## PFNA - Heavy
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 326238.3438 |  | 1
Method Blank 2 | 354287.0312 |  | 1
Method Blank 3 | 343340.6875 |  | 1
Method Blank 4 | 358255.1562 |  | 1
Method Blank 5 | 344247.875 |  | 1
NIST SRM-1957 1 | 268956.375 | -113573.4094 | 1 | 0
NIST SRM-1957 2 | 266823.1562 | -115706.6281 | 1 | 0
NIST SRM-1957 3 | 243906.2344 | -138623.55 | 1 | 0
NIST SRM-1957 6 | 354071.0625 | -28458.7219 | 1 | 0
NIST SRM-1957 7 | 363293.7188 | -19236.0656 | 1 | 0
NIST SRM-1957 8 | 367311.1562 | -15218.6281 | 1 | 0
NIST SRM-1957 9 | 298605.25 | -83924.5344 | 1 | 0
NIST SRM-1957 10 | 305274.1562 | -77255.6281 | 1 | 0
|  |  | 100 | 0
322662.3233

## PFDA - Linear Native
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 0 |  | 0
Method Blank 2 | 0 |  | 0
Method Blank 3 | 0 |  | 0
Method Blank 4 | 0 |  | 0
Method Blank 5 | 0 |  | 0
NIST SRM-1957 1 | 5807.3311 | 5807.3311 | 1 | 1
NIST SRM-1957 2 | 4705.1152 | 4705.1152 | 1 | 1
NIST SRM-1957 3 | 7633.1455 | 7633.1455 | 1 | 1
NIST SRM-1957 6 | 9279.1035 | 9279.1035 | 1 | 1
NIST SRM-1957 7 | 0 | 0 | 0 | 0
NIST SRM-1957 8 | 9098.2725 | 9098.2725 | 1 | 1
NIST SRM-1957 9 | 0 | 0 | 0 | 0
NIST SRM-1957 10 | 0 | 0 | 0 | 0
|  |  | 38.4615 | 62.5
2809.4591

## PFDA - Heavy
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 245209.0312 |  | 1
Method Blank 2 | 240123.9688 |  | 1
Method Blank 3 | 264158.4062 |  | 1
Method Blank 4 | 276169.4375 |  | 1
Method Blank 5 | 243046.4688 |  | 1
NIST SRM-1957 1 | 204720.6719 | -96077.495 | 1 | 0
NIST SRM-1957 2 | 208431.9375 | -92366.2294 | 1 | 0
NIST SRM-1957 3 | 196465.875 | -104332.2919 | 1 | 0
NIST SRM-1957 6 | 280239.8438 | -20558.3231 | 1 | 0
NIST SRM-1957 7 | 279034.875 | -21763.2919 | 1 | 0
NIST SRM-1957 8 | 272495.4688 | -28302.6981 | 1 | 0
NIST SRM-1957 9 | 224961.9375 | -75836.2294 | 1 | 0
NIST SRM-1957 10 | 0 | -300798.1669 | 0 | 0
|  |  | 92.3077 | 0
225773.6863

## PFUdA - Heavy
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 117939.7109 |  | 1
Method Blank 2 | 90538.5078 |  | 1
Method Blank 3 | 119213.4922 |  | 1
Method Blank 4 | 102652.8359 |  | 1
Method Blank 5 | 76029.9609 |  | 1
NIST SRM-1957 1 | 165324.0156 | 8854.3157 | 1 | 1
NIST SRM-1957 2 | 189902.2656 | 33432.5657 | 1 | 1
NIST SRM-1957 3 | 174142.6562 | 17672.9563 | 1 | 1
NIST SRM-1957 6 | 200697.0312 | 44227.3313 | 1 | 1
NIST SRM-1957 7 | 196633.375 | 40163.6751 | 1 | 1
NIST SRM-1957 8 | 205772.2344 | 49302.5344 | 1 | 1
NIST SRM-1957 9 | 155182.1094 | -1287.5906 | 1 | 0
NIST SRM-1957 10 | 166520.25 | 10050.5501 | 1 | 1
|  |  | 100 | 87.5
150811.4189

## PFDoA - Heavy
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 17152.1699 |  | 1
Method Blank 2 | 5955.606 |  | 1
Method Blank 3 | 23275.7715 |  | 1
Method Blank 4 | 4753.9243 |  | 1
Method Blank 5 | 3248.3289 |  | 1
NIST SRM-1957 1 | 135894.8906 | 98479.3394 | 1 | 1
NIST SRM-1957 2 | 152817.5781 | 115402.0269 | 1 | 1
NIST SRM-1957 3 | 150685.1562 | 113269.605 | 1 | 1
NIST SRM-1957 6 | 122257.3281 | 84841.7769 | 1 | 1
NIST SRM-1957 7 | 126132.1953 | 88716.6441 | 1 | 1
NIST SRM-1957 8 | 124954.375 | 87538.8238 | 1 | 1
NIST SRM-1957 9 | 101616.5859 | 64201.0347 | 1 | 1
NIST SRM-1957 10 | 110730.0859 | 73314.5347 | 1 | 1
|  |  | 100 | 100
83036.4612

## PFTeDA - Heavy
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 0 |  | 0
Method Blank 2 | 0 |  | 0
Method Blank 3 | 0 |  | 0
Method Blank 4 | 0 |  | 0
Method Blank 5 | 0 |  | 0
NIST SRM-1957 1 | 91456.8516 | 91456.8516 | 1 | 1
NIST SRM-1957 2 | 94876.3984 | 94876.3984 | 1 | 1
NIST SRM-1957 3 | 109104.9219 | 109104.9219 | 1 | 1
NIST SRM-1957 6 | 98020.7031 | 98020.7031 | 1 | 1
NIST SRM-1957 7 | 94359.8672 | 94359.8672 | 1 | 1
NIST SRM-1957 8 | 94929.2422 | 94929.2422 | 1 | 1
NIST SRM-1957 9 | 74534.4062 | 74534.4062 | 1 | 1
NIST SRM-1957 10 | 75661.1875 | 75661.1875 | 1 | 1
|  |  | 61.5385 | 100
56380.2752

## 42 FTS - Heavy
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 301887.4688 |  | 1
Method Blank 2 | 305612.2188 |  | 1
Method Blank 3 | 324150.8438 |  | 1
Method Blank 4 | 326864.1562 |  | 1
Method Blank 5 | 308804.5312 |  | 1
NIST SRM-1957 1 | 267728.2188 | -79648.5654 | 1 | 0
NIST SRM-1957 2 | 283595.5938 | -63781.1904 | 1 | 0
NIST SRM-1957 3 | 291409.7188 | -55967.0654 | 1 | 0
NIST SRM-1957 6 | 399029.3125 | 51652.5284 | 1 | 1
NIST SRM-1957 7 | 402732.0938 | 55355.3096 | 1 | 1
NIST SRM-1957 8 | 415069.1875 | 67692.4034 | 1 | 1
NIST SRM-1957 9 | 360931.2812 | 13554.4971 | 1 | 1
NIST SRM-1957 10 | 358163.2812 | 10786.4971 | 1 | 1
|  |  | 100 | 62.5
334305.9928

## 62 FTS - Heavy
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 396868.375 |  | 1
Method Blank 2 | 415254.0312 |  | 1
Method Blank 3 | 417998.125 |  | 1
Method Blank 4 | 461263.9688 |  | 1
Method Blank 5 | 410883.0625 |  | 1
NIST SRM-1957 1 | 267855.625 | -225257.5081 | 1 | 0
NIST SRM-1957 2 | 283538.5 | -209574.6331 | 1 | 0
NIST SRM-1957 3 | 294003.7812 | -199109.3519 | 1 | 0
NIST SRM-1957 6 | 475754.3438 | -17358.7894 | 1 | 0
NIST SRM-1957 7 | 467018.25 | -26094.8831 | 1 | 0
NIST SRM-1957 8 | 489321.4375 | -3791.6956 | 1 | 0
NIST SRM-1957 9 | 429151.4375 | -63961.6956 | 1 | 0
NIST SRM-1957 10 | 409255.9062 | -83857.2269 | 1 | 0
|  |  | 100 | 0
401397.4495

## 82 FTS - Heavy
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 437221.5 |  | 1
Method Blank 2 | 426584.125 |  | 1
Method Blank 3 | 417123.9688 |  | 1
Method Blank 4 | 495585.375 |  | 1
Method Blank 5 | 383140.6875 |  | 1
NIST SRM-1957 1 | 258072.6875 | -296713.8529 | 1 | 0
NIST SRM-1957 2 | 280129.25 | -274657.2904 | 1 | 0
NIST SRM-1957 3 | 275756.5625 | -279029.9779 | 1 | 0
NIST SRM-1957 6 | 425986.25 | -128800.2904 | 1 | 0
NIST SRM-1957 7 | 422230.4062 | -132556.1341 | 1 | 0
NIST SRM-1957 8 | 434347.6875 | -120438.8529 | 1 | 0
NIST SRM-1957 9 | 323844.8125 | -230941.7279 | 1 | 0
NIST SRM-1957 10 | 346926.5625 | -207859.9779 | 1 | 0
|  |  | 100 | 0
378996.1442

## FOSA - Heavy
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 0 |  | 0
Method Blank 2 | 0 |  | 0
Method Blank 3 | 0 |  | 0
Method Blank 4 | 0 |  | 0
Method Blank 5 | 0 |  | 0
NIST SRM-1957 1 | 526961.9375 | 526961.9375 | 1 | 1
NIST SRM-1957 2 | 567003.0625 | 567003.0625 | 1 | 1
NIST SRM-1957 3 | 544279.4375 | 544279.4375 | 1 | 1
NIST SRM-1957 6 | 562823.3125 | 562823.3125 | 1 | 1
NIST SRM-1957 7 | 568825.75 | 568825.75 | 1 | 1
NIST SRM-1957 8 | 573004.1875 | 573004.1875 | 1 | 1
NIST SRM-1957 9 | 458492.1875 | 458492.1875 | 1 | 1
NIST SRM-1957 10 | 483568.5312 | 483568.5312 | 1 | 1
|  |  | 61.5385 | 100
329612.1851

## NMeFOSAA - Heavy
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 219022.5 |  | 1
Method Blank 2 | 170574.7031 |  | 1
Method Blank 3 | 135890.4062 |  | 1
Method Blank 4 | 138744.1875 |  | 1
Method Blank 5 | 112022.8984 |  | 1
NIST SRM-1957 1 | 148701.0312 | -130403.0131 | 1 | 0
NIST SRM-1957 2 | 158603.9375 | -120500.1068 | 1 | 0
NIST SRM-1957 3 | 158604.625 | -120499.4193 | 1 | 0
NIST SRM-1957 6 | 195174.9688 | -83929.0756 | 1 | 0
NIST SRM-1957 7 | 206578.5781 | -72525.4662 | 1 | 0
NIST SRM-1957 8 | 208988.8281 | -70115.2162 | 1 | 0
NIST SRM-1957 9 | 163025.5625 | -116078.4818 | 1 | 0
NIST SRM-1957 10 | 170384.8281 | -108719.2162 | 1 | 0
|  |  | 100 | 0
168178.235

## NEtFOSAA - Heavy
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 131899.2812 |  | 1
Method Blank 2 | 94481.0078 |  | 1
Method Blank 3 | 72485.0391 |  | 1
Method Blank 4 | 62117.5195 |  | 1
Method Blank 5 | 51465.9453 |  | 1
NIST SRM-1957 1 | 125120.2031 | -52978.4131 | 1 | 0
NIST SRM-1957 2 | 129989.875 | -48108.7412 | 1 | 0
NIST SRM-1957 3 | 131371.2031 | -46727.4131 | 1 | 0
NIST SRM-1957 6 | 169113.375 | -8985.2412 | 1 | 0
NIST SRM-1957 7 | 168262.7344 | -9835.8819 | 1 | 0
NIST SRM-1957 8 | 171847.1562 | -6251.46 | 1 | 0
NIST SRM-1957 9 | 131469.5469 | -46629.0694 | 1 | 0
NIST SRM-1957 10 | 146564.125 | -31534.4912 | 1 | 0
|  |  | 100 | 0
122014.3855

## NMeFOSA - Heavy
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 0 |  | 0
Method Blank 2 | 0 |  | 0
Method Blank 3 | 0 |  | 0
Method Blank 4 | 0 |  | 0
Method Blank 5 | 0 |  | 0
NIST SRM-1957 1 | 187706.4844 | 187706.4844 | 1 | 1
NIST SRM-1957 2 | 205587.5781 | 205587.5781 | 1 | 1
NIST SRM-1957 3 | 209853.9219 | 209853.9219 | 1 | 1
NIST SRM-1957 6 | 155630.6094 | 155630.6094 | 1 | 1
NIST SRM-1957 7 | 158113.7031 | 158113.7031 | 1 | 1
NIST SRM-1957 8 | 166474.4531 | 166474.4531 | 1 | 1
NIST SRM-1957 9 | 108940.7969 | 108940.7969 | 1 | 1
NIST SRM-1957 10 | 114649.5703 | 114649.5703 | 1 | 1
|  |  | 61.5385 | 100
100535.1629

## NMeFOSA - Heavy smaller peak
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 0 |  | 0
Method Blank 2 | 3545.0874 |  | 1
Method Blank 3 | 4456.2578 |  | 1
Method Blank 4 | 0 |  | 0
Method Blank 5 | 0 |  | 0
NIST SRM-1957 1 | 4071.9651 | -4172.7407 | 1 | 0
NIST SRM-1957 2 | 3801.959 | -4442.7468 | 1 | 0
NIST SRM-1957 3 | 5507.9077 | -2736.7981 | 1 | 0
NIST SRM-1957 6 | 11862.3447 | 3617.6389 | 1 | 1
NIST SRM-1957 7 | 10569.3613 | 2324.6555 | 1 | 1
NIST SRM-1957 8 | 0 | -8244.7058 | 0 | 0
NIST SRM-1957 9 | 0 | -8244.7058 | 0 | 0
NIST SRM-1957 10 | 5866.3213 | -2378.3845 | 1 | 0
|  |  | 61.5385 | 25
3821.6311

## NEtFOSA - Heavy
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 0 |  | 0
Method Blank 2 | 0 |  | 0
Method Blank 3 | 0 |  | 0
Method Blank 4 | 0 |  | 0
Method Blank 5 | 0 |  | 0
NIST SRM-1957 1 | 115085.5469 | 115085.5469 | 1 | 1
NIST SRM-1957 2 | 137038.75 | 137038.75 | 1 | 1
NIST SRM-1957 3 | 134307.6094 | 134307.6094 | 1 | 1
NIST SRM-1957 6 | 113133.1406 | 113133.1406 | 1 | 1
NIST SRM-1957 7 | 102428.7266 | 102428.7266 | 1 | 1
NIST SRM-1957 8 | 113548.4609 | 113548.4609 | 1 | 1
NIST SRM-1957 9 | 58813.3438 | 58813.3438 | 1 | 1
NIST SRM-1957 10 | 67950.8125 | 67950.8125 | 1 | 1
|  |  | 61.5385 | 100
64792.7993

## NEtFOSA - Heavy smaller peak
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 0 |  | 0
Method Blank 2 | 0 |  | 0
Method Blank 3 | 0 |  | 0
Method Blank 4 | 2251.6987 |  | 1
Method Blank 5 | 0 |  | 0
NIST SRM-1957 1 | 8520.8535 | 5049.5429 | 1 | 1
NIST SRM-1957 2 | 9839.6758 | 6368.3652 | 1 | 1
NIST SRM-1957 3 | 9528.3984 | 6057.0878 | 1 | 1
NIST SRM-1957 6 | 15834.4414 | 12363.1308 | 1 | 1
NIST SRM-1957 7 | 16266.8301 | 12795.5195 | 1 | 1
NIST SRM-1957 8 | 14146.3633 | 10675.0527 | 1 | 1
NIST SRM-1957 9 | 9458.8906 | 5987.58 | 1 | 1
NIST SRM-1957 10 | 10842.1416 | 7370.831 | 1 | 1
|  |  | 69.2308 | 100
7437.638

## HFPO-DA Heavy
| Raw | Post Blank Subtraction | Detection Frequency (no subtraction) | Detection Frequency (After Blank Subtraction (mean + 3 s.d.)
Method Blank 1 | 0 |  | 0
Method Blank 2 | 0 |  | 0
Method Blank 3 | 0 |  | 0
Method Blank 4 | 0 |  | 0
Method Blank 5 | 0 |  | 0
NIST SRM-1957 1 | 4019.4109 | 4019.4109 | 1 | 1
NIST SRM-1957 2 | 6059.3862 | 6059.3862 | 1 | 1
NIST SRM-1957 3 | 5213.6484 | 5213.6484 | 1 | 1
NIST SRM-1957 6 | 3788.2117 | 3788.2117 | 1 | 1
NIST SRM-1957 7 | 2765.6047 | 2765.6047 | 1 | 1
NIST SRM-1957 8 | 1910.1036 | 1910.1036 | 1 | 1
NIST SRM-1957 9 | 0 | 0 | 0 | 0
NIST SRM-1957 10 | 0 | 0 | 0 | 0
|  |  | 46.1538 | 75
1827.4127